µCELLULOSE KOMBUCHA								July 31, 2026

Komagatacitobacter xilium								µROJOCONGO

| Stp | Components | + µL /well | ºC | Time | Agit | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | GROWTH | 200µL |  | 3-4d |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4. | CELLULOSE STAIN |  |  |  |  |  |
| 4.1 | WASHING ±H2O |  ±160µL |  |  |  | Eliminate culture medium +yeast +bacteria |
|  | dryness |  |  |  |  | o/n overnight |
| 4.2 | WASHING BINDING +Binding liquid 0.8M NaCl | ±160µL +160µL |  |  | yes | Immerse into NaCl To transparency |
| 4.3 | STAIN: +RC ROJOCONGO 2.5mg/mL | +30µL |  |  |  | Stain cellulose with RC |
|  | +H2O | +30µL |  |  | yes | >30min |
| 4.4 | WASHING BINDING Binding liquid 0.8M NaCl | ±160µL -160µL |  |  |  | Eliminate excess RC to transparency |
| 4.5 | RC-BOUND EXTRACTION Methanol |  |  |  | yes | Extract cellulose bound RC o/n overnight |
|  | Transfer supernatant |   |  |  |  | A492-620nm |

1	    2	    3	     4	 5	     6	     7	     8	9	   10	   11	  12

160µL 1	A											

80µL  1/3	B											

80µL  1/9	C											

80µL  1/27	D											

160µL	E 											

80µL	F 											

80µL	G											

80µL	H											